Key drivers of continuous insulation

International Energy Conservation Code, eliminate thermal bridging, improve building 	health

Common types of continuous insulation and uses with exterior wall claddings

Extruded polystyrene, expanded polystyrene, spray polyurethane, mineral wool, 	polyisocyanurate

Selection considerations such as wall cladding compatibility, fire 	performance, thickness 	limitations, costs, and application

Influence on detailing and construction

Wall geometry, closure conditions such as at top/bottom of walls and openings, and 	impact of CI on common exterior wall claddings

Testing and performance

Fire tests and wall cladding attachment

Additional roles and benefits of continuous insulation

Exterior sheathing and/or air/water resistive barrier