Presentation Title: Existing Wind in ASCE 7-16: Changes to the Wind Load Provisions and How to Implement Strategies in a Re-Roofing Project Design

Presentation Topic: Properly assessing existing roofs will help with performing an accurate design under the new provisions of ASCE 7-16.

Learning Objective 1: Describe the process of performing an assessment of an existing roof

Learning Objective 2: Review the changes from ASCE 7 -10 to ASCE 7 -16

Learning Objective 3: Understand the design parameters as per the new ASCE 7-16 code.

Learning Objective 4: Review a case study for a step-by-step wind design for a building located in a high velocity wind zone

Keywords: Building condition assessment, Roof assessment; Roof design: building enclosure, case study, Wind design; High Velocity Zone, wind pressure zones.

Presentation Proposal/Abstract:

ASCE 7-16 contains significant changes from ASCE 7-10 in the areas of seismic design, wind design, snow design, and more.  A brand-new chapter on design against tsunami loads has been added.  Several of the seismic chapters have been extensively rewritten. Since ASCE  7 eventually becomes law through adoption by the International Building Code (IBC) and then through adoption of the IBC by legal building codes of local jurisdictions, a practicing engineer has no choice but to keep up with these changes.

In the East coast of the US the wind design controls most of the roofing design of a building, understanding how to interpret and use ASCE 7-16 wind provision will help Consultants and Design professional to perform their job properly, but the design of a re-roof starts in the correct roof assessment collecting the necessary data to do a complete evaluation.

A case study of a six (6) story building located on the East coast of Florida within the High Velocity zone will help us to understand the entire process from Assessment and data collection to evaluation, design to specification.

Presentation Outline:

- Changes in the wind design provisions from ASCE 7-10 and ASCE 7-16

- Roof assessment of an existing building, what to look for?

  - Data collection

  - Nondestructive testing

- Evaluation of roof conditions

- Review deign parameter

  - Enclosure classification

  - Risk Category

  - Basic Wind Speed

  - Ground elevation

  - Edge Zones

- Final product with Construction documents and specs

  - Tested Assembly identification

Presenter Information:

Tarcisio Noguera, P.E., LEED AP; WMI; THLV2

https://www.linkedin.com/in/nogueratarcisiope/

Tarcisio Noguera, P.E., LEED AP; WMI; THLV2 is an Engineer and Senior Project Manager in the Miami Walter P. Moore Diagnostics group. He has more than 15 years of domestic and international experience in the field of building enclosure and forensic engineering. His expertise includes assessing and designing repairs for distress related to moisture management, roofing systems, and below-grade waterproofing on concrete substrates. He has participated in the roof design and construction administration for international projects such as Montevideo Uruguay International airport; Five (5) FIFA 2014 soccer world cup stadiums in Brazil.

Noah Doukas, E.I., LEED Green Associate

https://www.linkedin.com/in/doukasnoah/

Noah Doukas, E.I., LEED Green Associate is a Graduate Engineer in our Orlando Diagnostics Group with experience in structural engineering, building envelope consulting, and forensic consulting. Noah’s expertise includes evaluating, assessing, and designing repairs for structural systems and building envelope components. He develops work scopes, repair details, repair procedures, and technical specifications for concrete and steel restoration, waterproofing, and stucco rehabilitation projects. He has been involved in many large and complex projects across the Southeastern United States.